## Frame
Int[] | UDT_net_frame |  |  |  |  | Telegram Structure:
0 | interface_nr | Int | ==> siehe ID |  |  | 1 byte StructVersion; 1 byte ByteHeaderFlag; 2 byte reserviert; int16 FrameIndex; byte[x] payload
1 | job | Int | ==> siehe JOB
2 | data | Array[0..13] of Int |  |  |  | HeaderFlag | Data[0] | Data[1]
3 | data[0] | Int |  |  |  | PdataIO | Interface Nr | JobType
4 | data[1] | Int
5 | data[2] | Int
6 | data[3] | Int
7 | data[4] | Int
8 | data[5] | Int
9 | data[6] | Int
10 | data[7] | Int
11 | data[8] | Int
12 | data[9] | Int
13 | data[10] | Int
14 | data[11] | Int
15 | data[12] | Int
16 | data[13] | Int
| log_msg | trennzeichen ~
|  | datetime | DTL | DTL#1970-01-01-00:00:00
|  | YEAR | UInt | 1970
|  | MONTH | USInt | 1
|  | DAY | USInt | 1
|  | WEEKDAY | USInt | 5
|  | HOUR | USInt | 0
|  | MINUTE | USInt | 0
|  | SECOND | USInt | 0
|  | msg_type | Int | 0 | 1=info, 2=warning, 3=error
|  | interface_id | Int | 0 | ID des senders
|  | message | String[254] | '' | tatsächliche nachricht
{MSG_START}
ID 1 -> management Frame
Job 1 -> Request for Log msg from PLC
Job 2 -> PLC NET Mode: close connection
Job 3 -> PLC NET Mode: keep connection open

## JOB
aktor | job | data[0] | data[1] | data[2] | data[3] | data[4] | data[5] | data[6] | data[7] | data[8] | data[9] | data[10] | data[11] | data[12] | data[13]
jalousie | NET_Get_state | data[0]: #data_motor.position; data[1]: #data_motor.angle; data[2]: #cmd.new_position; data[3]: #cmd.new_angle
jalousie | NET_Set_state | data[0]: #cmd.new_position; data[1]: #cmd.new_angle
jalousie | NET_Get_Param | data[0]: event ID (0-9); data[1]: #event."time".hour; data[2]: #event."time".minute; data[3]: #event."time".secound; data[4]: #event.position; data[5]: #event.angle; data[6]: #event.enable; data[7]: #event.driving_up
jalousie | NET_Set_Param | data[0]: event ID (0-9); data[1]: #event."time".hour; data[2]: #event."time".minute; data[3]: #event."time".secound; data[4]: #event.position; data[5]: #event.angle; data[6]: #event.enable; data[7]: #event.driving_up
jalousie | NET_aktor_specific | data[0]: #init_motor
heater | NET_Get_state | data[0]: not used
heater | NET_Set_state | data[0]: not used
heater | NET_Get_Param | #param.ctrl_manuel | #param.manualCTRL_ON | time on h | time on m | time off h | time off m | start time h | start time m | stop time h | stop time m | #param.stop_at_degree
heater | NET_Set_Param
logger_EG | 1 (cmd)
logger_EG | 2 (eta values) | Kessel | Abgas | Pufferladezustand | Puffer_oben | Puffer_mitte | Puffer_unten | Kesselrücklauf | Kollektor | Boiler_unten_Solar | Aussentemperatur
logger_EG | 3 (eta burning time) | data[0]: turn_on; data[1]: jear; data[2]: month; data[3]: day; data[4]: hour; data[5]: minute; data[6]: second
logger_EG | 4 (weather_station | data[0]: temperatur; data[1]: sun_south; data[2]: sun_west; data[3]: sun_east; data[4]: light; data[5]: wind; data[6]: rain
logger_EG | 5 (plc_sensors)
light | #NET_Get_state | data[0]: INDEX; data[1]: JOB ID; data[2]: switch_signal; data[3]: remaining_on_h; data[4]: remaining_on_m; data[5]: remaining_on_s
light | #NET_Set_state | data[0]: INDEX; data[1]: JOB ID; data[2]: #switch_signal
light | #NET_Get_Param | INDEX | JOB ID | #switch_signal | #param."auto-off_lux_enable" | #param."auto-off_lux" | #param."auto-off_time_enable" | hour #remaining_light_on_time | minute #remaining_light_on_time | second #remaining_light_on_time | remaining_on_h | remaining_on_m | remaining_on_s
light | #NET_Set_Param | INDEX | JOB ID | reserve | #param."auto-off_lux_enable" | #param."auto-off_lux" | #param."auto-off_time_enable" | hour #remaining_light_on_time | minute #remaining_light_on_time | second #remaining_light_on_time
heater | #NET_Set_Param | INDEX | JOB ID | ctrl_manual | ctrl_maual_state | timeOnHour | timeOnMinute | timeOffHour | timeOffMinute | startTimeHour | startTimeMinute | stoppTimeHour | stoppTimeMinute | stopAtDegree
heater | #NET_Get_Param | INDEX | JOB ID | ctrl_manual | ctrl_maual_state | timeOnHour | timeOnMinute | timeOffHour | timeOffMinute | startTimeHour | startTimeMinute | stoppTimeHour | stoppTimeMinute | stopAtDegree | currentState
heater | #NET_Get_state | data[0]: INDEX; data[1]: JOB ID; data[2]: ctrl_manual; data[3]: ctrl_maual_state; data[4]: currentState; data[5]: remaining_on h; data[6]: remaining_on m
jalousie | #NET_Get_state | data[0]: INDEX; data[1]: JOB ID; data[2]: position; data[3]: angle
jalousie | #NET_SET_STATE | data[0]: INDEX; data[1]: JOB ID; data[2]: position_new; data[3]: angle_new
jalousie | #NET_GET_PARAM | data[0]: INDEX; data[1]: JOB ID; data[2]: #DRIVE_UP_WIND_SPEED * 100; data[3]: init Motor
jalousie | #NET_SET_PARAM | data[0]: INDEX; data[1]: JOB ID; data[2]: #DRIVE_UP_WIND_SPEED * 100; data[3]: init Motor
jalousie | #NET_GetParamJalousieEvent | INDEX | JOB ID | EVENT ID | hour | minute | secound | position | angle | enabled | drive_up

## ID
PLC | Module | Name | ID | description
EG | universal | NET | 5
OG | universal | NET | 6
EG | logger | data_logger | 7 | 1 (cmd); 2 (eta values); 3 (eta operating_hours); 4 (weather_station); 5 (plc_sensors)
OG | logger | data_logger | 8
EG | universal | ID_10 | 10
EG | universal | ID_ETA | 11
EG | jalousie | ID_OFFICE | 30
EG | jalousie | ID_KITCHEN | 31
EG | jalousie | ID_LIVING | 32
EG | jalousie | ID_DININGSOUTH | 33
EG | jalousie | ID_DININGWEST | 34
OG | jalousie | ID_PARENTS | 35
OG | jalousie | ID_BATH | 36
OG | jalousie | ID_CHILDEASTEAST | 37
OG | jalousie | ID_CHILDEASTSOUTH | 38
OG | jalousie | ID_FLOOR | 39
OG | jalousie | ID_CHILDWESTSOUTH | 40
OG | jalousie | ID_CHILDWESTWEST | 41
EG | light | ID_OFFICE_CEILING | 50
EG | light | ID_BATH_CEILING | 51
EG | light | ID_BATH_MIRROR | 52
EG | light | ID_DINING_WEST | 53
EG | light | ID_DINING_CEILING | 54
EG | light | ID_LIVING_EASTNORTH | 55
EG | light | ID_LIVING_EASTSOUTH | 56
EG | light | ID_LIVING_SOUTH | 57
EG | light | ID_FLOOR_WEST | 58
EG | light | ID_FLOOR_EAST | 59
EG | light | ID_ENTRYDOOR_UP | 60
EG | light | ID_KITCHEN_CEILING | 61
EG | light | ID_KITCHEN_CLOSET | 62
EG | light | ID_KITCHEN_STORE | 63
EG | light | ID_DUNGON_SERVER | 64
EG | light | ID_DUNGON_HEATER | 65
EG | light | ID_DUNGON_HOBBYEAST | 66
EG | light | ID_DUNGON_HOBBYWEST | 67
EG | light | ID_DUNGON_WASH | 68
EG | light | ID_DUNGON_STAIRS | 69
EG | light | ID_DUNGON_FLOOR | 70
EG | light | ID_TERRACE_SOUTH | 71
EG | light | ID_TERRACE_WEST | 72
EG | light | ID_TERRACE_EAST | 73
OG | light | ID_BATH_CEILING | 100
OG | light | ID_BATH_SHOWER | 101
OG | light | ID_BATH_MIRROR | 102
OG | light | ID_PARENTS_CEILING | 103
OG | light | ID_PARENTS_BED | 104
OG | light | ID_FLOOR_SOUTH | 105
OG | light | ID_FLOOR_NORTH | 106
OG | light | ID_CHILDEAST_GALLERY | 107
OG | light | ID_CHILDEAST_CEILING-NotUsed | 108
OG | light | ID_CHILDWEST_GALLERY | 109
OG | light | ID_CHILD_WEST_CEILING-NotUsed | 110
OG | light | ID_STAIRS_EAST | 111
OG | light | ID_STAIRS_WEST | 112
OG | light | ID_CHILDWEST_PowerOutlet | 113
EG | heater | ID_HEATER_BATH | 150
EG | heater | ID_HEATER_DINING | 151
EG | heater | ID_HEATER_ENTRANCE | 152
EG | heater | ID_HEATER_KITCHEN | 153
EG | heater | ID_HEATER_LIVING | 154
EG | heater | ID_HEATER_OFFICE | 155
EG | heater | ID_HEATER_FLOOR | 156
EG | heater | ID_HEATER_HOBBY1 | 157
EG | heater | ID_HEATER_HOBBY2 | 158
EG | heater | ID_HEATER_WASHROOM | 159
EG | heater | ID_HEATER_SERVERROOM | 160
OG | heater | ID_HEATER_BATHWALL | 161
OG | heater | ID_HEATER_BATHFLOOR | 162
OG | heater | ID_HEATER_CHILDEAST | 163
OG | heater | ID_HEATER_CHILDWEST | 164
OG | heater | ID_HEATER_PARENTS | 165
Carport | light | ID_ceilingLEDStripe | 200
Carport | light | ID_drive | 201

## HeaderFlag
value | 2
SYNC.ERROR 255 1 different client wants to connect -> only one allowed?
SYNC.ERROR 255 2 connection watchdog to connected client timed out
SYNC.acknowlege 1 1 connection to new client established
SYNC.acknowlege 1 2 retrigger watchdog
GUI → PLC (will be answerd by HEADER_ACKN )
| HeaderFlag | SENDdata.data[0]
| SYNC | 0 |  | Topics depending connection establishing, trigger watchdog, register at topics
| SYNC | 1 | CONNECT
| SYNC | 2 | DISCONNECT
| SYNC | 3 | TRIGGER WATCHDOG
| SYNC | 4 | ERROR | 1 → connection to client timed out;
| SYNC | 5 | subscribe
HEADER_container
HEADER_SYNC
HEADER_LogMessage
HEADER_ACKN
HEADER_PdataIO
HEADER_PLCdata
HEADER_ERROR
Plc → GUI